## scudual 1
schedual of rates and prices for MHPP Unit 1
schedual no 1 . Plant and mandatory spare parts supplied from abroad
item | description | code | unit | Qty | unit price | total price | remarks
1 | electro mechanical facilities
1.1 | shaft for turbine with all accessories,special tools and reamars |  | set | 1
1.2 | shaft seals for unit one |  | set | 1
1.3 | turbine bearing with all main and auxiliary parts plus special tools |  | set | 1
1.4 | turbine runner with upper and lower labyrinth plus all amin and auxiliary parts with special tools |  | set | 1
1.5 | facing palate of bottom rings with all acceries |  | set | 1
1.6 | facing palate of head cover with all acceries |  | set | 1
1.7 | foundation ring with all accessories |  | set | 1
1.8 | turbine distributer system with all accessories (wicket gates, servomotors, regulating rings, bearings, sealing elements, bottom rings, kenimatics system, piping and valves, coupling systems and etc.) |  | set | 1
1.9 | oil pressure unit OPU system p=24 bar with all main and auxiliary parts |  | set | 1
1.1 | upper and lower labyrinth of turbines head cover with all accessories |  | set | 1
1.11 | bronz boushing of main inlet valves MIV with all accessories |  | set | 1
1.12 | governing systems with all main and auxiliary parts (copmlete system) |  | set | 1
1.13 | unti 1 MIV oil pump system with all accessories |  | set | 1
1.14 | turbine oil cooling system with all accessories |  | set | 1
1.15 | turbine 1 MIV bypass with all accessories |  | set | 1
1.16 | unit no 1. MIV protection and automation systems with all accessories |  | set | 1
1.17 | turbine filters for bronze steel rings of unit# 1 with all accessories |  | set | 1
1.18 | general penstock MIV electric bypass with all accessories |  | set | 1
1.19 | cooling system incloding all main and auxiliary parts plus special tools |  | set | 1
1.2 | special tools and accessories for turbine no.1 |  | set | 1
| subtotal |  |  |  |  | 0
2 | generator
2.1 | vertical axis synchronous genetator coupled to the hydraulic turbine with all main and auxillaries parts( bud bars, lower bearings, upper bearings, thrust bearings shafts, cooling systems, fire fightin systems and etc.) with spiders |  | set | 1
2.2 | excitation systems with all accessories and special tools |  | set | 1
2.1 | special tools and accessories for generator no.1 |  | lot | 1
| subtotal |  |  |  |  | 0
3 | ancillary equipment
3.1 | compress air systems with all main and auxullary parts for turbine no.1 (25bar) |  | lot | 1
3.2 | compress air systems with all main and auxullary parts for generator no.1 (7bar systems) |  | lot | 1
3.3 | unit 1 oil cooling system with all main and auxiliary partsn |  | lot | 1
3.4 | unit 1 water cooling system with all main and auxiliary parts |  | lot | 1
3.5 | air conditioning and ventilation with all main and auxiliary parts |  | lot | 1
3.6 | fire fighting system with all main and auxiliary parts |  | lot | 1
| subtotal |  |  |  |  | 0
4 | Midum voltage switchgear
4.1 | 10kv generator incoming switchgear with all accessories |  | set | 3
| 10kv generator outgoing switchgear with all accessories |  |  | 3
4.2 | switch gear for station service transformer with all accessories |  | set | 2
4.3 | switch gear for local electrification systems with all accessories |  | set | 2
4.4 | spare parts for each |  | lot | 3
| subtotal |  |  |  |  | 0
5 | automation and control system
5.1 | operation station with monitors and alarm printers |  | set | 1
5.2 | redundant 10/110kv LCU |  | no | 1
5.3 | redundant common service LCU |  | no | 1
5.4 | training and simulation station with double monitor and printer |  | no | 1
5.5 | engineering station with double monitor and laser color printer |  | no | 1
5.6 | redundant main servers in hot-standby |  | no | 1
5.7 | interface with firewall to office LAN web client for remote access |  | no | 1
5.8 | GPS master clock system with interface to secondary system |  | no | 1
5.9 | redundant gateway to the load dispatch center (LDC) |  | no | 1
5.1 | portable service station |  | no | 1
5.11 | redundant fiber optic bus system according to IEC 60870-5-104 |  | no | 1
5.12 | RTU |  | lot | 1
5.13 | furniture for the CCR |  | set | 1
| subtotal |  |  |  |  | 0
6 | protection
6.1 | unit protection for the generator number 1 with all main and auxiullary parts |  | set | 1
6.2 | special tools and appliances |  | set | 1
6.3 | spare parts |  | lot | 1
| subtotal |  |  |  |  | 0
9 | cable
9.1 | all MV (10kv) cables with sealing ends and another accessories |  | lot | 1
9.2 | all AC And DC power cables for unit one |  | lot | 1
9.3 | all control ,protection and measuring cables |  | lot | 1
9.4 | all cable trays and other supports for cable and busbar distribution |  | lot | 1
9.5 | fire protection measures |  | lot | 1
| subtotal |  |  |  |  | 0
11 | hydro mechanical facilities for rehabilitation and overhauling supply of fasteners, seals, relays, contact points, wires, switches etc
11.1 | draft tube and cone |  |  | 1
11.2 | spiral case |  |  | 1
11.3 | stop logs of diversion dam |  |  | 1
11.4 | tailrace stop logs |  |  | 1
11.5 | MIV, gate valve control, gate valve oil pressure, gate valve operating, main control valve to KUGKSCHIEBERST, mounting valve for circulation, maintenance seals and control system |  | lot | 1
11.6 | water tunnel gates |  | lot | 1
11.7 | water tunnel filters |  | lot | 1
| sub total |  |  |  |  | 0
| total |  |  |  |  | 0

## schedual 2
schedual no. 2. Design service
item | description | unit | Qty | Unit price | Total Price | remarks
|  |  |  | inclusive of all taxes | inclusive of all taxes
foreign currency USD
A | electro mechanical facilities
1 | hydraulic turnbine with all main and auxiliary parts | lot | 1
2 | governing systems with all main and auxiliary parts | lot | 1
B |  |  |  |  | 0
1 | hydro generator with all main and auxiliary parts | lot | 1
2 | generator's ecitation systems with all auxiliary parts | lot | 1
C | Ancillary equipment |  |  |  | 0
1 | Ancillary equipment with all main and auxiliary parts | lot | 1
0
D | midume voltage switchgear
1 | mideume voltage switchgear ( generator output, station transformer switchgear, local electrification switchgear) | lot | 1
E | automation and control system |  |  |  | 0
1 | automation and control systems with all main and auxiliary parts | lot | 1
F | generator 's protection system |  |  |  | 0
1 | generator's protection systems with all main and auxiliary parts | lot | 1
G | cables |  |  |  | 0
1 | cable systems with all main and auxiliary psrts | lot | 1
0
| total |  |  |  | 0

## schedual 3
schedual No.3. installation and other services
item | description | unit | Qty | unit price | total price | remarks
|  |  |  | inclusive all taxes | inclusive all taxes
foreign currency USD
1 | general section
1.1 | mobilization and De-mobilization including all necessary activities e.g. transportation, in-transit accommodation, VISAs, work permits etc. | lump sum | 1
1.2 | provision of all necessary insurancesw in accordance with the contract | lump sum | 1
1.3 | provision of life support for contractor's personal for the duration of contract including setting up and closing down the accommodation camp | lump sum | 1
1.4 | provision of all necessary consumable stores, tools and equipment for completion of the work | lump sum | 1
1.5 | provide training on site to the DABS staff in different field oh HPP - operational and maintenance | lump sum | 1
| subtotal |  |  |  | 0
2 | electro mechanical section
2.1 | main and auxiliary system of Unit 1 including but not limited to: (Dismantling of generator componnents, Shaft straightness test af MHPP complete repair of unit, dismantling of turbine components, overhaul and adjustment of electrical system, adjustment of guide vane components, preliminary alignment of turbine and generator components, preparation of generatore components for installation preparation of turbine components for installation , overhaul and adjustment of main inlet valve MIV, installation of generator components, installation of turbine components,alignment of turbine and generator components, pre-commissioning and commissioning of unit one, trail operation of unit one and etc. | set | 1
2.2 | governing system and accessories | set | 1
| subtotal |  |  |  | 0
3 | ancillary equipment
3.1 | ancillary equipment schudual#1 with all main and auxiliary parts including but not limited to:( Dismantling of component snd test at MHPP, complete repair of all parts, dismantling of components, overhaul and adjustment of auxiliary equipments, overhaul and adjustment of electrical system, sdjustment of component, preliminary alignment of components, preparation of components for installation, pre-commissiong and comissioning of unit# 1 trail operation and etc.), | set | 1
| subtotal |  |  |  | 0
4 | genrator
4.1 | complete 1 set virtical shaft AC Syn. Generator main and auxiliary parts including but not limited to: (Dismantling of generator components shaft straightness test at MHPP, complete repair of unit 1, dismantling of component, overhaul and adjustment of auxiliary equipments, overhaul and adjustment of electrical system adjustment of components, preliminary alignment of turbine and generator components, preparation of generator componentsn for installation, preparation of components for installation,overhaul and adjustmen, installation of generator components, alignment of turbine and generator components, precommissioning and commissioning of uint 1, trail operation of unit 1) and also synchronizing and interfacing of rehabiletated uni no.1 with two old existance units no.2 & no.3 | set | 1
4.2 | excitation systems with all main and auxiliary parts | set | 1
| subtotal |  |  |  | 0
5 | midume voltage switchgear
5.1 | midume voltage switchgear with all accessories | set | 3
| subtotal |  |  |  | 0
6 | protection system
6.1 | complete set of generation protection & metering panel with all main and auxiliary prts ( installation, pre-commissioning, commissioning, trail operation and etc.) | set | 1
0
7 | automation system
7.1 | complete systems with all main and auxiliary parts ( installation, pre-commissioning, trial operation and ets.) | lot | 1
| sub total |  |  |  | 0
8 | cabling systems
8.1 | complete lot of power & control cables 10kv and low kv XLPE insulated, copper conductor, armored powder cable with cable trays, termination kits and accessories. Multi core, PVC cinulated, copper conductor, armored control cable with cable trays (lot's all main and auxiliary parts) | lot | 1
| sub total |  |  |  | 0
9 | air conditioning and ventilation systems
9.1 | complete lot of air conditioning and ventilation systems with all main and auxiliary parts | lot | 1
| sub total |  |  |  | 0
| total |  |  |  | 0

## schedual 4
schedual no.5. spare parts
item | Deacription | unit | Qty | unit price | total price | remarks
inclusive all taxes
turbine
1 | a quntity equaivalent to 10% of all fasteners, nuts and washers. | set | 1
2 | complete set of turbine bearing. | set | 1
3 | dial thermometer for turbine guid bearing | set | 1
4 | stainless steel shaft sleeve for turbine | set | 1
5 | shear pins for wicket gate for one turbine | set | 1
6 | metal rings or carbon rings for the turbine shaft seal | set | 1
7 | wicket gates with bushing for on turbine | set | 1
8 | each type of O - rings, packing and bushing for all part of one turbine unit | set | 1
9 | wearing ring of each type for one turbine unit | set | 1
10 | facing plate with rubber seal for wicket gates | set | 1
11 | pressure guage, three each type | set | 1
12 | oil level guage, three each type | set | 1
13 | each type relay temperature relay | set | 1
14 | each type oil pressure relay | set | 1
15 | each type water flow relay snd sight | set | 1
16 | each type of water pressure relay | set | 1
17 | each type auxiliary relay | set | 1
18 | each type limit switchs | set | 1
19 | each typ shut-off, check and auto matic valve | set | 1
20 | turbine runner | set | 1
21 | wicket gates | set | 1
22 | bronz hubs ands cups for wicket gates | set | 1
23 | upper and lower lubyrinth ring of runner | set | 1
24 | facing plate of lower ring | set | 4
25 | facing plate of head cover | set | 4
26 | upper and lower lubyrinth ring of head cover | set | 3
27 | foundation rings | set | 3
28 | bronz buahing of main inlet valvesw | set | 3
| sub total |  |  |  | 0
governer systems
1 | resttoration cable and all attachments | pcs | 1
2 | speed signal generation (SSG) | set | 1
3 | speeed adjusting motor complete | pcs | 1
4 | load limitimg motor complete | pcs | 1
5 | transister sheet (printed card) for each type | set | 1
6 | spring, gaskets, fasteners and washer for one unit complete | set | 1
7 | pilot valves | set | 1
8 | main and auxiliary ditribution valves exculding housing | set | 1
9 | converter | set | 1
10 | potentiometers for unit | set | 1
11 | unloading valve complete for pressure iol pump | pcs | 1
12 | pressure oil pump replacement kit, including all moving parts spring and seals | pcs | 1
13 | air compressor replacement kit, including all mooving parts springs and seals any other other spare recommended by the manufacturer | pcs | 1
14 | governer C.P.U.set with customer program installed and ready for repalcement | set | 1
15 | each type of card used in governer controls including DI, DO, AI, AO and interface. | set | 1
| sub total |  |  |  | 0
cooling water systems
1 | cooling water pumps with motors | set | 1
2 | three sests valves of each type | set | 1
| sub total |  |  |  | 0
general spare parts
1 | ball or roller bearings comprising sufficient bear | set | 1
2 | gasket and sealing materials comprising sufficient of each type | set | 1
3 | guage glasses and inspection window comprising one of each type used | set | 1
4 | filter ir strainer repalcement elements comprising one for each size | set | 1
5 | complete set filters of each existing type | set | 1
6 | replacement seats, plugs, discs, sleeves or diaphragms | set | 1
7 | pressure guage, relay and switch for each type | set | 1
8 | any other recommended by contractor | set | 1
| sub total |  |  |  | 0
electrical spare parts
1 | complete sets assembly of each type of relay contactor switch ect | set | 1
2 | solenoid and coil of each type used | set | 1
3 | complete assembly of each type of pressure and flow switch and thermal relay | set | 1
4 | timer rheostat, rectifier and other special device | set | 1
5 | lamps and fuses consisting of 500 per cent of the quantity used for one unit | set | 1
6 | each type of small components such as resistors inductors, capacitors, transistors, valves, transformers etc. | set | 1
7 | any other recommended by manufacturer | set | 1
0
generator
1 | upper and lower guide bearings | set | 1
2 | complete set of thrust bearing runner springs and shoes | set | 1
3 | ten (10) % of half stator coils, with all supplies requaired for installation, plus 10% extra wedges and material for unit one | set | 1
4 | three pair of generator field pole with coil and cor icluding necessary materials for installation | set | 1
5 | thyristors comprising one third of the total quantity required for one bridge | set | 1
6 | spare parts for the voltage regulator and excitation control equipment including brushes for auxiliary motors of relays , contactors, and control elements of each type. | set | 1
7 | oil level sight guage | set | 1
8 | brake shoes | set | 1
9 | segments of wearing brake plates | set | 1
10 | one assebly of automatic synchronizer for unit one | set | 1
11 | one of relays, contactors, swithches, etc. of each type for unit one | set | 1
12 | complete assembly of flow relays, timers, rheostats, rectifiers and other special device of each type for unit one | set | 1
13 | 500% of lamps and fuses consisting of the quantity used for unit one | set | 1
14 | one (1) of each type small components like print transistor cards, resistors, inductors, capacistors, transformers, etc. of each type | pcs | 1
15 | one (1) solenoid coils of each type for unit 1 | pcs | 1
16 | one (1) complete set of fire detectors for fire extinguisher | pcs | 1
17 | other spare parts as recommended by the manufactures. | set | 1
0
ancillary equpments
1 | wear and tear items | set | 1
2 | customary spare parts for "identical assamblies" | set | 1
3 | control valves for each type | pcs | 1
4 | check valves of each type | pcs | 1
5 | measuring instruments of each type | pcs | 1
6 | safety valves of each type | pcs | 1
7 | pressures switch of each type | pcs | 1
8 | sets of piston rings of each type | set | 1
9 | ests of solenoids or motor valves, of each type | set | 1
10 | pressure transmitters of each type | pcs | 1
11 | srts of delivery and suction valve for compressors of each type | set | 1
12 | filter inserts of each type | pcs | 1
0
automation and control system
1 | operator station computer, fully configured | pcs | 1
2 | redundant main server core components, fully confihured | pcs | 1
3 | set of interface madules, comprising 5% minimum one piece of each type | set | 1
4 | set of repeater modules, comprising 5% minimum one piece of each type | set | 1
5 | monitor of each type | pcs | 1
6 | printer of each type | pcs | 1
7 | set of interposing relays, comprising 5% minimum one piece of each type | set | 1
8 | cooling fan of each type | pcs | 1
9 | indicating lamps, fuses, comprising 5% minimum one piece of each type | set | 1
10 | MCB, comprising 5% minimum one piece of each type | set | 1
11 | trnsducers, compricing 20% minimum one piece of each type | set | 1
12 | printed circuit cards, comprising % minimum one piece of each type | set | 1
13 | control switchs, comprising 20% minimum one piece of each type | set | 1
14 | push-buttons, comprising 20% minimum one piece of each type | set | 1
15 | instruments and meters, comprising 20% minimum one piece of each type | set | 1
16 | built-in stabilized power unit comprising 20% minimum one piece of each type | set | 1
17 | other spare parts as recommended by the manufacturers | set | 1
0
protection systems
1 | genrator protection numerical relay | set | 1
2 | lot of electronic cards related to the measuring, processing and trip circuits of protection devices, comprising one (1) piece of each type | lot | 1
3 | lot of electronic cards, trip relays, and other circuit components other than for protection devices, comprising one (1) piece of each type | lot | 1
4 | DC/DC converters, power supply filters and other power supply units, comprising one (1) piece of each type | lot | 1
5 | other spare parts as recommanded by the manufacturers | lot | 1
0
| Total of spare parts |  |  |  | 0

## Summery
schedual no.5. grand summery
item | description | total price in us dollor
1 | total schudula No.1. plant and mandatory spare parts supplied from abroad
2 | Total schudula No.2. design services
3 | total schedual No.3. installation erection interfacing of rehabilitated unit with existance old units
4 | total schedual No.4. spare parts
| Total | 0
Note 1: Schedules 1, 2, 3, 4, and 5 mentioned in the ITB or GCC have been consolidated into the single schedule referenced above. Additionally, it is worth mentioning that the spare parts must be delivered during the contract period to Mahipar Breshna's warehouse after the completion and activation of the turbine but before the end of the project timeline.
Note 2: Factory Acceptance Test required for the items listed below, to be conducted during production and prior to the transfer of goods within the contract period, should take place at the contractor’s expense in the presence of a delegation of six representatives from the DABS. This applies to all items except design, installation, and Schedule No.1 items 3.4 to 3.6, 5.2 to 5.10, 11.1 to 11.4, and 11.6 to 11.7.
Name of Bidder
Signature & Stamp of Bidder