## Schedule - 1
Schedules of Rates and Prices
Price Schedule : 1- Supply of 220KV Singal circuit/Singal conductor per phase transmission Line From Asqalan Substation to Dash-e-Archi New Substation with length of (44.5 KM)
220 kV Overhead Transmission Line from Asqalan Substation to Dasht archi Substation
Item | Description | Country of Origin | Unit | Quantity | Unite Price (AFN) | Total Price (AFN)
[5 empty] | (DDP) | (DDP)
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
A | Supply of plant materials, equipment, mandatory spare parts and tools required for the 220 kV OHTL complete in every respect
A-1 | Towers along with stubs, Body extensions, Leg extensions and accessories including Attachment Devices, Nuts, bolts, washers, step bolts, anti-theft bolts for all tower types:
A-1.1 | Lattice Tower Suspension and Tension (NST2, LAT2, MAT2,HAT2 and DET2) with stubs, legs and body extensions including Nuts, bolts, washers, attachments, Theft Bolts, accessories complete in every aspect. |  | MT | 2001
A-1.2 | Anti-Climbing device/Anti-Theft Devices |  | Sets | 153
A-2 | Tower and line identification Plates :
A-2.1 | Tower Number Plates |  | Nos. | 153
A-2.2 | Danger Plate |  | Nos. | 306
A-2.3 | Phase Plate (set of 3) |  | Sets | 153
A-2.4 | Circuit Plate |  | Sets | 153
A-2.5 | Air Borne Observation Number Plate |  | Nos. | 25
A-3 | Tower Grounding/Earthing (Complete for 3 phase) that includes:
A-3.1 | Lattice Tower Grounding / Earthing materials, Towers earthing system, including Wire, lugs, earthing electrode etc. for each tower. |  | Set | 153
A-3.2 | Additional earthing system including Counterpoise (if required).
A-3.2.1 | -Counterpoise Type - 40 m |  | set | 5
A-3.2.2 | -Counterpoise Type - 60 m |  | set | 4
A-3.2.3 | -Counterpoise Type - 100 m |  | set | 2
A-4 | Conductor, OPGW with necessary accessories (including jumper, joints, clamps, fittings, dampers) for fully functional 220 kV Transmission Line:
A-4.1 | ACSR "Wolf" Conductor of Nominal Aluminum Cross Sectional Area 158 mm2 (Single Circuits, Single Conductor, 3 Phases, including joints, repair sleeves, jumper loops and clamps) |  | Route-km | 146.85
A-4.2 | Suspension assembly for conductor(complete for 3- phase /tower) |  | Set | 138
A-4.3 | Tension assembly for Conductor( complete for 3- phase /tower) |  | Set | 15
A-4.4 | Vibration dampers for Conductor (Stockbridge type) required as per technical requirement |  | Set | 918
A-5 | 220 kV Composite Long Rod Insulator Complete Sets with fittings, clamps and accessories for ACSR Wolf Size single Conductor Line:
A-5.1 | Single Suspension Composite long rod insulator string complete sets (fittings, armor rod, suspension clamp, arcing horn, etc.) |  | set | 414
A-5.2 | Double suspension Composite Long rod insulator string Complete sets of 2 (fittings, armor rod, suspension clamps, arcing horn, etc.) |  | set | 12
A-5.3 | Single Tension Composite long rod insulator string complete set (fittings, Compression type tension clamps, arcing horn, etc.) |  | set | 90
A-5.4 | Double Tension composite long rod insulator string complete set of 2 (fittings, armor rod, compression type tension clamps, arcing horn etc.) |  | set | 36
A-5.5 | Pilot insulator with suitable counter weight including accessories as per design requirement ( for high Angle Towers if required) |  | No's | 18
A-6 | Assemblies including fitting, accessories and vibration dampers for Conductor and OPGW:
A-6.1 | OPGW 24-fiber single wire with necessary accessories including: extra length required for installation purpose, connection at joint boxes and joint termination boxes. |  | Route-km | 49
A-6.2 | Suspension assembly for OPGW(Complete set per tower) |  | Set | 138
A-6.3 | Tension assembly for OPGW (Complete set per tower) for both side |  | Set | 15
A-6.4 | Joint boxes |  | LS | 23
A-6.5 | Joint termination boxes |  | LS | 1
A-6.6 | Vibration dampers for OPGW (Stockbridge type) required as per technical requirement |  | Set | 306
A-7 | Necessary material and equipment required for Connection at Substations:
A-7.1 | All 220-kV equipment required to complete loop-ins at substations gantries (Asqalan SS and Dasht archi SS) including: fittings, insulators, down-droppers, joints, OPGW connection etc. |  | LS | 1
Total of Equipmnets and Materials
B | Mandatory Spare Parts:
B-1 | Suspension tower type NST2 (0- 2 deg) +3m Body Extension, complete with Step bolts, ACD and foundation stubs |  | set | 2
B-2 | Leg Standard for tower type NST2 (0 - 2o) |  | pcs | 6
B-3 | Leg extensions +2m for NST2 |  | set | 2
B-4 | Heavy angle tower type HAT2 (30 - 60o )+3m Body extension complete with step bolts, ACD and foundation stubs |  | set | 1
B-5 | Leg Standards for tower type HAT2 (30 - 60) deg |  | pcs | 6
B-6 | Leg extensions +2m for HAT2 |  | pcs | 2
B-7 | Lattice Tower Grounding / Earthing materials, Towers earthing system, including Wire, lugs, earthing electrode etc. for each tower. |  | set | 6
B-8 | Single Suspension Composite long rod insulator string complete sets (fittings, armor rod, suspension clamp, arcing horn, etc.) |  | set | 25
B-9 | Double suspension Composite Long rod insulator string Complete sets of 2 (fittings, armor rod, suspension clamps, arcing horn, etc.) |  | set | 3
B-10 | Single Tension Composite long rod insulator string complete set (fittings, Compression type tension clamps, arcing horn, etc.) |  | set | 12
B-11 | Double Tension composite long rod insulator string complete set of 2 (fittings, armor rod, compression type tension clamps, arcing horn etc.) |  | set | 4
B-12 | Pilot insulator with suitable counter weight including accessories as per design requirement ( for high Angle Towers if required) |  | set | 3
B-13 | ACSR "Wolf" Conductor of Nominal Aluminum Cross Sectional Area 158 mm2 (single circuits, single Conductor, 3 phases) |  | Route-km | 5
B-14 | Suspension assembly for conductor(complete for 3- phase /tower) |  | set | 10
B-15 | Tension assembly for Conductor( complete for 3- phase /tower) |  | set | 6
B-16 | Stockbridge dampers for single conductor ACSR "Wolf" 158 mm2, 220 kV |  | pcs | 50
B-17 | Conductor repair sleeves suitable to ACSR 158. |  | pcs | 40
B-18 | Preformed Armor Rods, suitable for single ACSR "Wolf" 158 mm2, 220 kV |  | pcs | 50
B-19 | Conductor mid span straight joints suitable to ACSR 158. |  | pcs | 50
B-20 | OPGW 24-Fibre |  | Route-km | 3
B-21 | OPGW Suspension assembly |  | set | 12
B-22 | OPGW Tension assembly |  | set | 6
B-23 | Stockbridge vibration damper for OPGW |  | pcs | 32
B-24 | Joint boxes |  | set | 10
Total of Mandatory Spare Parts
C | Standard Tools : (The Bidder shall provide specifications for all tools offered according to this schedule and to be submitted in bid package)
C-1 | Portable Megger OHL insulation tester, digital |  | Set | 2
C-2 | Portable tower earthing measurement set |  | Set | 2
C-3 | OPGW splicing set (fusion splicer) |  | Set | 1
C-4 | Optical time domain relectometer (OTDR) |  | Set | 2
C-5 | Optical talk set |  | Set | 1
C-6 | Torque wrenches (up to 24 mm bolt, max torque 300 Nm) |  | Set | 2
C-7 | OHL technicians maintenance tools in steel box |  | Set | 1
C-8 | Conductor jointing sets |  | Set | 1
C-9 | Sagging winch 10 Ton capacity with all accessories |  | Set | 2
C-10 | Double sheave plley block 5T capacity with all accessories |  | Set | 2
Total of Tools
TOTAL
Name of Bidder
Signature of Bidder
a | Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for foreign currencies if so required.

## Schedule - 3
Schedule No. 3: Transmission Line Design, Drawings and Documentation
220 kV Overhead Transmission Line from Asqalan Substation to Dasht Archi Substation
Item | Description | Unit | Quantity | Unit Price (AFN) | Total Price (AFN)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5
D | Survey, Geotech, Design services and Tranings
D-1 | Route Survey and Detailed line geodetic survey | LS | 1
D-2 | Geotechnical (soils) survey, in-situ, laboratory testing and report preparation | LS | 1
D-3 | Transmission line Plan and profile, tower schedule, Sag-tension tables, towers spotting, route clearance report and other design services as specified in General & Particular Technical Specifications | LS | 1
D-4 | Tower Structural Design, foundation design, OPGW and insulator design, other required equipment design along with Hardware Fittings & accessories, fabrication, drawings including approvals and report finalizations. | LS | 1
D-5 | Training for OPGW, joint box assembly, splicing technology, patch panel assemble, fiber technology, fibre optic cable testing with their maintenance and O&M trainings in Employer's country, min 2 weeks, for 5 persons. All costs included. | LS | 1
TOTAL
Name of Bidder
Signature of Bidder
a Specify currency in accordance with ITB 19.1 of the BDS.

## Schedule - 4
Schedule No. 4 - Installation and Other Services
220 kV Overhead Transmission Line from Asqalan Substation to Dasht Archi Substation
Item | Description | Unit | Quantity | Unit Price (AFN) | Total Price (AFN)
1 | 2 | 3 | 4 | 5 | 6= 4 x 5
E | 220 kV OHL from Asqalan SS to Dashat Archi SS installations of Foundations along with accessories, single circuit towers with all components, 3-phase single conductor, OPGW, insulators with their accessories, fittings and accessories complete in every respect on turnkey basis considering employer's requierments.
E-1 | General works including (Security, Demining, Teemporary/Perminant compensaton of access road and assistance to employer at site)
E-1.2 | Demining | LS | 1
E-1.3 | Temporary access roads with tie roads and platforms for complete line route as required | LS | 1
E-1.4 | Compensation costs for temporary access roads to tower locations | LS | 1
E-1.5 | Permanent access roads as required | LS | 1
E-2 | Tower installations with basic body, all types of body & leg extensions, plates, bolts & nuts, washers, anti theft bolts, step bolts, tack welding and fixing of complete towers fitting and accessories:
E-2.1 | Installation of Lattice Suspension, Tension and Dead end towers (NST2, LAT2, MAT2, HAT2 and DET2) along with body extensions, Leg extensions, attaachements, step bolts, fitting and accessories. | MT | 2001
E-2.2 | Tower plates and Anti-Climbing device/Anti-Theft Devices | Sets | 153
E-3 | Installation of Foundations for all type of towers and all types of soils including stubs setting, PCC, RCC, form working, Reinforcement/rebar installation, curing, Excavation, backfilling, compaction and final grading complete) includes in following items:
E-3.1 | Excavation works | Cubic Meter | 53550
E-3.2 | PCC works | Cubic Meter | 1080
E-3.3 | RCC works (including stub setting, reinforcement/rebar installation, form work, curing, backfilling, compaction and final grading, etc.) | Cubic Meter or RCC | 7325
E-3.4 | Concrete barrier for tower base protection at steep slopes, intermittent flooding zones or in vicinity of intermittent water courses | per tower | 5
E-3.5 | Tower base and foundation erosion protection | per tower | 6
E-4 | Earthing/Grounding:
E-4.1 | Grounding (Tower earthing system) for all towers. | Per Twr | 153
E-4.2 | Additional earthing installation including counterpoising at 40m, 60m and 100m | Per Twr | 11
E-5 | Stringing of conductor and OPGW including installation of insulator, clamps, fittings and accessories:
E-5.1 | Conductors stringing with fitting and accessories installation works including insulator strings along with fittings, assemblies, clamps, joints, vibration dampers, jumpers and other necessary accessories. | Route km | 44.5
E-5.2 | OPGW stringing with fitting and accessories installation works including assemblies, clamps, joints, vibration dampers, splicing, joint boxes, joint termination boxes and other necessary accessories. | Route km | 44.5
E-6 | Tower Type tests
E-6.1 | Tower Load test, to destruction, suspension tower | pcs | 1
E-6.2 | Tower Load test, to ultimate design load, Tension tower DD/HAT2 | pcs | 1
E-7 | As-built, Testing, Commissioning, Energizing and Manuals.
E-7.1 | As-built documents, Operation-Maintenance Manuals, Testing, Commissioning and energization with Completion Reports for the entire Project | LS | 1
TOTAL
Name of Bidder
Signature of Bidder
a | Specify currency in accordance with ITB 19.1 of the BDS.
b | As described in SCC 22.2.7.

## Schedule 5 - Summary
Schedule No. 5: Grand Summary
220 kV Overhead Transmission Line from Asqalan Substation to Dasht Archi Substation
Schedule No. | Title | Total Price (AFN)
Price Schedule No.1 | Supply of 220KV Singal circuit/Singal conductor per phase transmission Line From Asqalan Substation to Dash-e-Archi New Substation with length of (44.5 KM)
Price Schedule No.3 | Transmission Line Design, Drawings and Documentation
Price Schedule No.4 | Installation and Other Services
Grand Total
Name of Bidder
Signature of Bidder
a | Specify currency in accordance with ITB 19.1 of the BDS. Create additional columns for foreign currencies if so required.
b | Taxes and/or duties from Schedules 1 and 2 may be added to the contract price in accordance with GCC 14 (Taxes and Duties) but excluded from bid evaluation in accordance with ITB 39.2.